## Circuit Prot.
Part Number | Description
Schneider 6000A Circuit Breakers - single phase
A9F44106 | MCB iC60N 1P 6A C 6000A
A9F44110 | MCB iC60N 1P 10A C 6000A
A9F44116 | MCB iC60N 1P 16A C 6000A
A9F44120 | MCB iC60N 1P 20A C 6000A
A9F44132 | MCB iC60N 1P 32A C 6000A
A9F44140 | MCB iC60N 1P 40A C 6000A
A9F44150 | MCB iC60N 1P 50A C 6000A
A9F44163 | MCB iC60N 1P 63A C 6000A
A9F45106 | MCB iC60N 1P 6A D 6000A
A9F45110 | MCB iC60N 1P 10A D 6000A
A9F45116 | MCB iC60N 1P 16A D 6000A
A9F45120 | MCB iC60N 1P 20A D 6000A
A9F45132 | MCB iC60N 1P 32A D 6000A
A9F45140 | MCB iC60N 1P 40A D 6000A
A9F45150 | MCB iC60N 1P 50A D 6000A
A9F45163 | MCB iC60N 1P 63A D 6000A
Schneider 6000A Circuit Breakers - 3 phase
A9F44306 | MCB iC60N 3P 6A C 6000A
A9F44310 | MCB iC60N 3P 10A C 6000A
A9F44316 | MCB iC60N 3P 16A C 6000A
A9F44320 | MCB iC60N 3P 20A C 6000A
A9F44332 | MCB iC60N 3P 32A C 6000A
A9F44340 | MCB iC60N 3P 40A C 6000A
A9F44350 | MCB iC60N 3P 50A C 6000A
A9F44363 | MCB iC60N 3P 63A C 6000A
A9F45306 | MCB iC60N 3P 6A D 6000A
A9F45310 | MCB iC60N 3P 10A D 6000A
A9F45316 | MCB iC60N 3P 16A D 6000A
A9F45320 | MCB iC60N 3P 20A D 6000A
A9F45332 | MCB iC60N 3P 32A D 6000A
A9F45340 | MCB iC60N 3P 40A D 6000A
A9F45350 | MCB iC60N 3P 50A D 6000A
A9F45363 | MCB iC60N 3P 63A D 6000A
Schneider 6000A Circuit Breakers - 1P+Ns RCBO
A9D61810 | RCBO iC60N 1P+Ns 10A 30mA 6000A
A9D61816 | RCBO iC60N 1P+Ns 16A 30mA 6000A
A9D61820 | RCBO iC60N 1P+Ns 20A 30mA 6000A
A9D61832 | RCBO iC60N 1P+Ns 32A 30mA 6000A
Schneider 6000A Circuit Breakers - 3P+Ns RCBO
A9DC6910 | RCBO iC60N3 3P+Ns 10A 30mA 6000A
A9DC6916 | RCBO iC60N3 3P+Ns 16A 30mA 6000A
A9DC6920 | RCBO iC60N3 3P+Ns 20A 30mA 6000A
A9DC6932 | RCBO iC60N3 3P+Ns 32A 30mA 6000A
Schneider 10000A Circuit Breakers - single phase
A9F54106 | MCB iC60H 1P 6A C 10000A
A9F54110 | MCB iC60H 1P 10A C 10000A
A9F54116 | MCB iC60H 1P 16A C 10000A
A9F54120 | MCB iC60H 1P 20A C 10000A
A9F54132 | MCB iC60H 1P 32A C 10000A
A9F54140 | MCB iC60H 1P 40A C 10000A
A9F54150 | MCB iC60H 1P 50A C 10000A
A9F54163 | MCB iC60H 1P 63A C 10000A
A9F55106 | MCB iC60H 1P 6A D 10000A
A9F55110 | MCB iC60H 1P 10A D 10000A
A9F55116 | MCB iC60H 1P 16A D 10000A
A9F55120 | MCB iC60H 1P 20A D 10000A
A9F55132 | MCB iC60H 1P 32A D 10000A
A9F55140 | MCB iC60H 1P 40A D 10000A
A9F55150 | MCB iC60H 1P 50A D 10000A
A9F55163 | MCB iC60H 1P 63A D 10000A
Schneider 10000A Circuit Breakers - 3 phase
A9F54306 | MCB iC60H 3P 6A C 10000A
A9F54310 | MCB iC60H 3P 10A C 10000A
A9F54316 | MCB iC60H 3P 16A C 10000A
A9F54320 | MCB iC60H 3P 20A C 10000A
A9F54332 | MCB iC60H 3P 32A C 10000A
A9F54340 | MCB iC60H 3P 40A C 10000A
A9F54350 | MCB iC60H 3P 50A C 10000A
A9F54363 | MCB iC60H 3P 63A C 10000A
A9F55306 | MCB iC60H 3P 6A D 10000A
A9F55310 | MCB iC60H 3P 10A D 10000A
A9F55316 | MCB iC60H 3P 16A D 10000A
A9F55320 | MCB iC60H 3P 20A D 10000A
A9F55332 | MCB iC60H 3P 32A D 10000A
A9F55340 | MCB iC60H 3P 40A D 10000A
A9F55350 | MCB iC60H 3P 50A D 10000A
A9F55363 | MCB iC60H 3P 63A D 10000A
A9N18364 | Acti9 C120N MCB 3P C 63A 10000A 415V
A9N18365 | Acti9 C120N MCB 3P C 80A 10000A 415V
A9N18367 | Acti9 C120N MCB 3P C 100A 10000A 415V
A9N18369 | Acti9 C120N MCB 3P C 125A 10000A 415V
Schneider 10000A Circuit Breakers - 1P+Ns RCBO
A9D11810 | RCBO iC60H 10A 30mA 10000A
A9D11816 | RCBO iC60H 16A 30mA 10000A
A9D11820 | RCBO iC60H 20A 30mA 10000A
A9D11825 | RCBO iC60H 25A 30mA 10000A
A9D11832 | RCBO iC60H 32A 30mA 10000A
Schneider 10000A Circuit Breakers - 3P+Ns RCBO
A9DC1910 | RCBO iC60N3 3P+Ns 10A 30mA 10000A
A9DC1916 | RCBO iC60N3 3P+Ns 16A 30mA 10000A
A9DC1920 | RCBO iC60N3 3P+Ns 20A 30mA 10000A
A9DC1932 | RCBO iC60N3 3P+Ns 32A 30mA 10000A
Schneider Isolators
A9S66191 | Isolator 1P 100A
A9S66391 | Isolator 3P 100A
Surge Protection
A9L40301 | Surge Arrester 3P 40kA with replacable cartridge and remote indication
A9L40601 | Surge Arrester 3P+N 40kA with replacable cartridge and remote indication

## Control
Manual Change-over switches - Acti9 iSSW
3 Positions Changeover Switches | A9SCO125 | A9 iSSW Changeover Switch 1P 25 A I-O-II | Part of dispenser program coming in 2025 | 4 | https://www.se.com/au/en/product-range/61713-acti9-issw/?parent-subcategory-id=1640&filter=business-4-low-voltage-products-and-systems#products
| A9SCO163 | A9 iSSW Changeover Switch 1P 63 A I-O-II | Part of dispenser program coming in 2025 | 4 | https://www.se.com/au/en/product-range/61713-acti9-issw/?parent-subcategory-id=1640&filter=business-4-low-voltage-products-and-systems#products
| A9SCO263 | A9 iSSW Changeover Switch 2P 63 A I-O-II | Part of dispenser program coming in 2025 | 4 | https://www.se.com/au/en/product-range/61713-acti9-issw/?parent-subcategory-id=1640&filter=business-4-low-voltage-products-and-systems#products
| A9SCO463 | A9 iSSW Changeover Switch 4P 63 A I-O-II | Part of dispenser program coming in 2025 | 2 | https://www.se.com/au/en/product-range/61713-acti9-issw/?parent-subcategory-id=1640&filter=business-4-low-voltage-products-and-systems#products
Schneider Contactors - DIN mounted
| A9C20731 | Contactor 25A 1NO 240VAC
| A9C20732 | Contactor 25A 2NO 240VAC
| A9C20736 | Contactor 25A 2NC 240VAC
| A9C20833 | Contactor 25A 3NO 240VAC
| A9C20834 | Contactor 25A 4NO 240VAC
| A9C20837 | Contactor 25A 4NC 240VAC
Schneider Emergency Lighting Kits
| PBELKIT2PB | Emergency Lighting Kit 2NC
| PBELKIT4PB | Emergency Lighting Kit 4NC

## Enclosures
Metal Distribution Boards - 18mm pitch chassis
MB224C31 | Distribution Board MB 24P C60 IP42 (160A MAIN SWITCH)
MB236D31 | Distribution Board MB 36P C60 IP42 (160A MAIN SWITCH)
MB248D31 | Distribution Board MB 48P C60 IP42 (160A MAIN SWITCH)
MB218B30 | A9 MB Encap 18P 18mm 250A No M_SW Grey
MB224B30 | A9 MB Encap 24P 18mm 250A No M_SW Grey
MB236C30 | A9 MB Encap 36P 18mm 250A No M_SW Grey
MB248D30 | A9 MB Encap 48P 18mm 250A No M_SW Grey
MB260E30 | A9 MB Encap 60P 18mm 250A No M_SW Grey
MB272E30 | A9 MB Encap 72P 18mm 250A No M_SW Grey
MB260E31 | A9 MB Encap 60P 18mm 160A M_SW Grey
MB272E31 | A9 MB Encap 72P 18mm 160A M_SW Grey
MB224C32 | A9 MB Encap 24P 18mm 250A M_SW Grey
MB236D32 | A9 MB Encap 36P 18mm 250A M_SW Grey
MB248D32 | A9 MB Encap 48P 18mm 250A M_SW Grey
MB260E32 | A9 MB Encap 60P 18mm 250A M_SW Grey
MB272E32 | A9 MB Encap 72P 18mm 250A M_SW Grey
MB284F32 | A9 MB Encap 84P 18mm 250A M_SW Grey
MB296F32 | A9 MB Encap 96P 18mm 250A M_SW Grey
MB218B30X15 | A9 MB Encap 18P 18mm 250A No M_SW Orange
MB224B30X15 | A9 MB Encap 24P 18mm 250A No M_SW Orange
MB236C30X15 | A9 MB Encap 36P 18mm 250A No M_SW Orange
MB248D30X15 | A9 MB Encap 48P 18mm 250A No M_SW Orange
MB260E30X15 | A9 MB Encap 60P 18mm 250A No M_SW Orange
MB272E30X15 | A9 MB Encap 72P 18mm 250A No M_SW Orange
MB284E30X15 | A9 MB Encap 84P 18mm 250A No M_SW Orange
MB224C31X15 | A9 MB Encap 24P 18mm 160A M_SW Orange
MB236D31X15 | A9 MB Encap 36P 18mm 160A M_SW Orange
MB248D31X15 | A9 MB Encap 48P 18mm 160A M_SW Orange
MB260E31X15 | A9 MB Encap 60P 18mm 160A M_SW Orange
MB272E31X15 | A9 MB Encap 72P 18mm 160A M_SW Orange
MB224C32X15 | A9 MB Encap 24P 18mm 250A M_SW Orange
MB236D32X15 | A9 MB Encap 36P 18mm 250A M_SW Orange
MB248D32X15 | A9 MB Encap 48P 18mm 250A M_SW Orange
MB260E32X15 | A9 MB Encap 60P 18mm 250A M_SW Orange
MB272E32X15 | A9 MB Encap 72P 18mm 250A M_SW Orange
MB284F32X15 | A9 MB Encap 84P 18mm 250A M_SW Orange
MB296F32X15 | A9 MB Encap 96P 18mm 250A M_SW Orange
MB200ADIN | A9 MB DIN Empty DB S2 24P 250A Grey
MB200BDIN | A9 MB DIN Empty DB S2 48P 250A Grey
MB200ADINX15 | A9 MB DIN Empty DB S2 24P 250A Orange
MB200BDINX15 | A9 MB DIN Empty DB S2 48P 250A Orange